Skills Runbook: Recovering Corrupted Edge-DPF / FEP Configuration Files

Scope: On-device recovery for configuration corruption (e.g., fe_*.properties), using .bak rollback and config.tar.gz extraction. Includes the official Local O&M Tool backup/recovery workflow.

Owner/Author: Zheng Khoon Chai    Last updated: 2026-03-31

# 1) Key Concepts (What each artifact is for)

This section turns the troubleshooting chat into reusable skills and mental models.

## 1.1 .properties vs .bak vs config.tar.gz

• Live config files: *.properties

• Rollback copies: *.properties.bak

- These are backup copies of specific config files (created before a change). They are not executable; you restore by copying the .bak back over the active .properties file.

• Snapshot archives: config.tar.gz

- A compressed archive that may contain a snapshot of configuration files at a point in time (e.g., build/publish/deployment). It does not automatically sync with current live files.

# 2) Decision Tree (Fastest safe path)

Use this decision logic to pick the recovery method with minimum risk:

If a config file is suspected corrupted/misconfigured:
  1) Check if a non-empty .bak exists for that file
     - YES: restore from .bak (preferred)
     - NO / .bak is 0 bytes: extract from config.tar.gz (surgical) OR use Local O&M Tool restore
  2) After restore, verify permissions + restart only the affected service/component
  3) Validate with logs and functional checks

# 3) Official Method: Local O&M Tool Backup & Recovery (Recommended when available)

The Edge Local Asset Config Tool provides built-in backup and recovery for “all configurations”. It exports a backup file named {Local Asset Config Tool information}_{time stamp}.tar.gz and supports restoring from a local file or from the last five backups.

Skill: Use the UI-based recovery when you need a comprehensive rollback across models/templates/protocols and want an audited workflow.

## 3.1 What it backs up

Includes (non-exhaustive): model, device management, edge list, template configuration, protocol, edge alert, stream computing, application registration, organization information.

## 3.2 Backup steps (UI)

Local O&M Tool -> Backup & Recovery
  - Click “Back-up Configuration”
  - System exports {Local Asset Config Tool information}_{time stamp}.tar.gz

## 3.3 Recovery steps (UI)

Local O&M Tool -> Backup & Recovery
  - Click “Restore Access Configuration”
  - Choose Method: Local File OR Backup File
  - Choose File: upload local .tar.gz OR select from last five backups
  - Fill in Reason
  - Click OK -> confirm -> OK to start recovery

# 4) On-device Method A: Restore a single file from .bak (Preferred for simple corruption)

Use this when only one or a few *.properties files are corrupted and the corresponding *.bak files are non-empty.

## 4.1 Steps

# Example: restore fe_http_s.properties from its .bak
cd /root/FEP/edge-dpf/resources/log_sys

# 1) Verify .bak is usable (non-zero)
ls -lh fe_http_s.properties fe_http_s.properties.bak

# 2) Preserve current (possibly broken) file
cp fe_http_s.properties fe_http_s.properties.bad.$(date +%F_%H%M%S)

# 3) Restore
cp fe_http_s.properties.bak fe_http_s.properties

# 4) Restore ownership/permissions (typical)
chown root:root fe_http_s.properties
chmod 644 fe_http_s.properties

# 5) Restart the relevant service/component and monitor logs

Notes:

• If the .bak is 0 bytes, do NOT restore it; it will replace your file with an empty config.

• Always back up the current file before overwriting.

# 5) On-device Method B: Extract a file from config.tar.gz (Last resort / surgical)

Use this when .bak is missing/unusable and you need to pull a known file version from a snapshot archive.

## 5.1 Safe extraction workflow

cd /root/FEP/edge-dpf/resources

# 1) Inspect archive contents (confirm exact internal paths)
tar -tzf log_sys/config.tar.gz | grep -E 'fe_udp\.properties|fe_http_s\.properties'

# 2) Extract to a temporary directory first (avoid accidental overwrite)
mkdir -p /tmp/config_restore
tar -xzf log_sys/config.tar.gz -C /tmp/config_restore

# 3) Compare with current live file before replacing
cd /root/FEP/edge-dpf/resources/log_sys

diff -u fe_udp.properties /tmp/config_restore/log_sys/fe_udp.properties || true

# 4) Backup current file and replace if appropriate
cp fe_udp.properties fe_udp.properties.bad.$(date +%F_%H%M%S)
cp /tmp/config_restore/log_sys/fe_udp.properties fe_udp.properties

# 5) Fix permissions
chown root:root fe_udp.properties
chmod 644 fe_udp.properties

## 5.2 About overwriting behavior (tar)

By default, tar extraction can overwrite existing files if (and only if) the extracted file path matches and the working directory/target directory resolves to the same path. To reduce risk, extract to /tmp first and copy explicitly.

# 6) Validation & Troubleshooting (Make sure the system is actually healthy)

## 6.1 Check logs (DPF protocol logs)

DPF protocol local logs can be found under the following directories depending on platform:

Gateway: /home/envuser/energy-os/edge-dpf/logs/<protocol_name>
Logger:  /root/FEP/edge-dpf/logs/<protocol_name>

Example (Modbus RTU):
  /root/FEP/edge-dpf/logs/modbus_rtu

Common files:
  default.log, initial.log, message.log, error.log, control.log

## 6.2 If deeper debugging is needed

Increase log level via the protocol log configuration file (takes effect immediately after saving, no restart required according to the manual).

Log config file path examples:
  Gateway: /home/envuser/energy-os/edge-dpf/resources/log_sys/protocol/proto_log/<dir_name>.properties
  Logger:  /root/FEP/edge-dpf/resources/log_sys/protocol/proto_log/<dir_name>.properties

## 6.3 EGC log tailing example (for reference)

tail -f /root/EMS/edge-ems/logs/microgridcontroller.log

# 7) Common Pitfalls & How to Avoid Them

• Restoring a 0-byte .bak: will wipe your config. Always check file size first.

• Extracting from tar directly into production directory: increases risk of overwriting multiple files. Prefer extract to /tmp then copy selectively.

• Path mismatch inside tar: tar will not restore anything if you specify a path that does not exist in the archive. Always check with tar -tzf first.

• Version mismatch: a snapshot may contain outdated keys. Compare/diff before replacing.

# 8) AI + Human Collaboration Prompts (to solve faster next time)

When engaging an AI assistant or escalating to a teammate, provide the following to shorten diagnosis:

1) The exact failing symptom (service not starting? parse error? missing key?)
2) The directory listing of /root/FEP/edge-dpf/resources/log_sys (ls -la)
3) The size of the target .properties and .bak files (ls -lh)
4) The output of: tar -tzf config.tar.gz | grep <filename>
5) Relevant log snippets from:
     /root/FEP/edge-dpf/logs/<protocol>/error.log
     /root/FEP/edge-dpf/logs/<protocol>/initial.log
6) What changed last (manual edit? publish? upgrade?)

# 9) Final Checklist (Before declaring resolved)

Target config restored from non-empty .bak OR selectively restored from config.tar.gz OR restored via Local O&M Tool.

Current config backed up with timestamp before overwrite.

Ownership and permissions verified (typical: root:root, 644).

Relevant service/component restarted (not full reboot unless required).

Logs show no parse errors and data flow is normal.

Document what was restored and from which source (.bak name / backup tar.gz / UI restore record).

# References (Internal docs)

• Edge_Operation_Guide_2.4.6_EN_20240327.pdf — Section 4.7 Security Management / 4.7.2 Backup & Recovery

• MODBUS_RTU_Config_Manual.docx — Protocol Local Logs & log level modification paths

• EGC 2.4.10 Trouble Shooting Manual EN-20251230.docx — Example of tailing EGC logs

• 08_FAQ_Troubleshooting.docx / Edge Grid Controller Lite_User Manual — Restore Default Configuration (device level)